## Required
PFS Spare Parts Inventory and Re-Ordering Information
NOTES: Manufacturer and vendor names and part numbers supplied where known. Alternate vendors may be possible in many cases. Prices are last known or best guesses and may need to be updated. "Req" is the total quantity required in inventory. "Have" is the current quantity in inventory and is colored red if the supply is lower than the required number. "Price/req" is the total value of the required quantity. "Price/need" is the total price to purchase the missing number needed to fill the required inventory. | [10 empty] | Last updated 10/19/2011 11:17
Assembly | Description | Manufacturer | Mfr part number | Vendor | Vendor part number | Price/each | Have | Req | Price/req | Price/need | Notes
CCD | Vacuum gauge | Convectron | GP-275203 | Brooks Automation | 275203 | 150 | 1 | 1 | 150 | 0 | 2 in instrument
CCD | Motorized actuator | Newport | LTA-HL | Newport | LTA-HL | 1604 | 0 | 0 | 0 | 0 | Intend to stop using
CCD | 2 l/s Pump assy | Varian |  | Agilent | 9190520 | 630 | 1 | 1 | 630 | 0 | Ion pump for CCD dewar
CCD | Pole piece assy 2 l/s pump (magnet) | Varian |  | Agilent | 9190038 | 275 | 1 | 1 | 275 | 0 | Needed for ion pump
Electronics | 5/12VDC linear supply | Power One | HBB512-A+G | Mouser | 675-HBB512A-G | 86.12 | 1 | 1 | 86.12 | 0
Electronics | 24VDC linear supply | Power One | HC24-2.4-A | Allied Elec |  | 78.28 | 1 | 1 | 78.28 | 0
Electronics | 12VDC modified supply | Power One | HD12-6.8-AG | Allied Elec |  | 124.62 | 1 | 1 | 124.62 | 0 | do not modify until needed?
Electronics | 24VDC modified supply | Power One | HD24-4.8-AG | Allied Elec |  | 124.62 | 1 | 1 | 124.62 | 0 | do not modify until needed?
Electronics | AC plug for Hoffman box | Schurter | KMF1.1191.11 | Allied Elec | 509-8005 | 24.55 | 1 | 1 | 24.55 | 0
Electronics | Fuses for AC plug: 5x20 mm | Schurter | 0001.2514 | Allied Elec | 798-0445 | 0.35 | 6 | 2 | 0.7 | 0
Electronics | PLC 8 PT 12-24VDC Sink output module | AutomationDirect | D2-08TD1 | AutomationDirect |  | 55 | 1 | 1 | 55 | 0
Electronics | 9 slot PLC base |  | D2-09B-1 | AutomationDirect |  | 209 | 1 | 1 | 209 | 0
Electronics | PLC 12 PT AC OUTPUT module | FACTS Eng. | D2-12TA | AutomationDirect |  | 128 | 2 | 1 | 128 | 0
Electronics | PLC 32 PT 5-15VDC input module | AutomationDirect | D2-32ND3 | AutomationDirect |  | 120 | 1 | 1 | 120 | 0
Electronics | PLC expansion controller | AutomationDirect | D2-CM | AutomationDirect |  | 50 | 1 | 1 | 50 | 0
Electronics | PLC Counter module |  | D2-CTRINT | AutomationDirect |  | 99 | 1 | 1 | 99 | 0
Electronics | PLC expansion module | AutomationDirect | D2-EM | AutomationDirect |  | 65 | 1 | 1 | 65 | 0
Electronics | PLC Bezel 8-key | Koyo | EA-MG-BZ1 | AutomationDirect |  | 59 | 1 | 1 | 59 | 0
Electronics | PLC Touch Panel | Koyo | EA1-S3ML | AutomationDirect |  | 189 | 1 | 1 | 189 | 0
Electronics | PLC 8 CH analog input module | FACTS Eng. | F2-08AD-2 | AutomationDirect |  | 264 | 3 | 3 | 792 | 0
Electronics | PLC Analog output module |  | F2-08DA-2 | AutomationDirect |  | 269 | 1 | 1 | 269 | 0
Electronics | PLC AC output module |  | F2-08TA | AutomationDirect |  | 119 | 1 | 1 | 119 | 0
Electronics | PLC 8 PT relay module | AutomationDirect | F2-08TRS | AutomationDirect |  | 99 | 1 | 1 | 99 | 0
Electronics | PLC coprocessor module | FACTS Eng. | F2-CP128 | AutomationDirect |  | 349 | 1 | 1 | 349 | 0
Electronics | PLC High speed counter module |  | H2-CTRIO | AutomationDirect |  | 289 | 1 | 1 | 289 | 0
Electronics | PLC 100mbit Ethernet module |  | H2-ECOM100 | AutomationDirect |  | 299 | 1 | 1 | 299 | 0
Electronics | Stepper controller |  | STP-DRV-4035 | AutomationDirect |  | 149 | 1 | 1 | 149 | 0
Electronics | Iodine cell temperature controller |  | EW-89000-10 | Cole Parmer |  | 939.95 | 1 | 1 | 939.95 | 0 | Treat old MIKE cell controller as spare
Electronics | T controller fuse: 15A/115VAC, 5x20mm | Cooper/Bussmann | BK1/GMA-15-R | Digi-Key | 283-3279-ND | 0.35 | 5 | 2 | 0.7 | 0
Electronics | MSOP10 to DIP10 adapter | E10-0047 | e-Pboard Design | e-Pboard Design |  | 6.5 | 9 | 8 | 52 | 0 | On board 1, for thermistor amps
Electronics | High voltage power supply | Emco High Voltage | HC2024R | Emco High Voltage |  | 440 | 0 | 1 | 440 | 440
Electronics | Vacuum gauge controller | Convectron | 375001-A0-M | Brooks Automation | 475001-A-M | 695 | 1 | 1 | 695 | 0 | 2 in instrument, replace with 475001-A-M?
Electronics | Dual output 24VDC lab supply | Agilent | E3620A | Newark |  | 550 | 1 | 1 | 550 | 0 | Borrow spare from CCD lab, then re-order
Electronics | Thermistor amplifier | Texas Instruments | INA330 | Newark | 02H5246 | 6.82 | 24 | 16 | 109.12 | 0 | On board 1
Electronics | 5VDC linear supply | Sola | SLS-05-060-1T | Allied Elec |  | 85.18 | 1 | 1 | 85.18 | 0
Electronics | CCD actuator controller | Newport | SMC100CC | Newport | SMC100CC | 826 | 0 | 0 | 0 | 0 | Intend to stop using
Electronics | Flowmeter totalizer |  | DPF701-A | Omega Engineering | DPF701-A | 360 | 1 | 1 | 360 | 0
Electronics | Ion pump controller fuse |  |  | Agilent |  | 0.35 | 2 | 2 | 0.7 | 0
Electronics | Microvac ion pump controller 120V King | Varian |  | Agilent | 9290200 | 1165 | 1 | 1 | 1165 | 0
Electronics | PFS Electronics Board #1 (assembled) | Vector Electronics | 4610-2 | Newark | 10F8208 | 43.55 | 1 | 1 | 43.55 | 0
Electronics | PFS Electronics Board #2 (assembled) | Vector Electronics | 3682-2 | Newark | 38F1370 | 31.34 | 1 | 1 | 31.34 | 0
Electronics | Resistor - 150ohm 10W | Ohmite | 20J150E | Allied Elec | 296-4993 | 1.48 | 2 | 2 | 2.96 | 0 | On board 2
Electronics | Potentiometer, 2K range |  |  |  |  | 1 | 2 | 2 | 2 | 0 | On board 1
Electronics | IC - 2.5V reference | Analog Devices | AD680AN | Newark | 59K4520 | 6.52 | 4 | 4 | 26.08 | 0 | On board 1
Electronics | Resistor | Ohmite | B12J1K0 | Newark | 02F1815 | 2.98 | 3 | 2 | 5.96 | 0 | On board 1
Electronics | Voltage follower |  | LM324N | Allied Elec | 735-0243 | 0.31 | 5 | 4 | 1.24 | 0 | On board 1
Electronics | IC |  | SN74LS74AN | Newark | 60K6892 | 0.68 | 7 | 6 | 4.08 | 0 | On board 2
Electronics | 9V Regulator |  | LM317T | Newark | 58K8936 | 0.504 | 5 | 4 | 2.016 | 0 | On board 1
Electronics | Capacitor - 2.0uF 400V 2W 10% | Illinois Capacitor | 205PHC400K | Newark | 30K6652 | 2.81 | 4 | 2 | 5.62 | 0 | On board 1
Electronics | Capacitor - 500u 50VDC | Vishay Sprague | TVA1315 | Newark | 18F975 | 5.03 | 2 | 2 | 10.06 | 0 | On board 2
Electronics | IC |  | SN74HC393 | Newark | 60K6838 | 0.523 | 4 | 3 | 1.569 | 0 | On board 2
Electronics | IC |  | 74HCT393N | Newark | 07WX3600 | 0.623 | 4 | 4 | 2.492 | 0 | On board 2
Electronics | Diode |  | 1N4007 | Newark | 18C8923 | 0.085 | 6 | 6 | 0.51 | 0 | On boards 1 and 2
Electronics | NPN Transistor |  | MPS6515 | Newark | 58K9464 | 0.094 | 6 | 6 | 0.564 | 0 | On board 2
Electronics | IC Temperature sensor | STMicroelectronics | LM335AZ | Allied Elec | 248-0050 | 1.27 | 3 | 2 | 2.54 | 0 | Iodine cell T readout to PLC
Focus | Synchronous motor | Superior Electric | KSL061T1Y | Minarik |  | 308.55 | 1 | 1 | 308.55 | 0 | Shared with MIKE
Focus | Rotary transducer, servo, 10K, 1 7/16"D | Maurey Instrument | 143-P93-103 | Maurey Instrument Corp |  | 400 | 1 | 1 | 400 | 0 | Also have one on the Hartmann mask
Hartmann | Stepper motor | Superior Electric | KML063F03E | Minarik |  | 347.82 | 0 | 0 | 0 | 0 | Buy replacement only upon failure
PMT | Photomultiplier | Hamamatsu | H7360-01 | Hamamatsu | H7360-01 | 2206 | 1 | 1 | 2206 | 0
Pre-slit | Iodine carriage motor | Faulhaber | 2224R012SR+20/1-23:1 | Micromo Electronics |  | 260 | 1 | 1 | 260 | 0
Pre-slit | 1" motorized flipper and controller | Newport | 8892-K | Newport | 8892-K | 845 | 1 | 1 | 845 | 0 | Enables calibration lamp system
Pre-slit | Thorium Argon lamp | S&J Juniper | 5160PESPA | S&J Juniper | 5160PESPA | 1100 | 1 | 1 | 1100 | 0
Pre-slit | Subminiature halogen lamps | Gilway Tech. Lamp | 288 | Gilway Technical Lamp | 288 | 7.4 | 9 | 6 | 44.4 | 0
Pre-slit | Halogen lamp base | Gilway Tech. Lamp | H250 | Gilway Technical Lamp | H250 | 10.34 | 8 | 1 | 10.34 | 0
Pre-slit | Iodine carriage transducer | Honeywell | MLT006N9000B5C | State Electronics |  | 325 | 1 | 1 | 325 | 0
Pre-slit | Iodine carriage limit switches | Omron | D2SW-P2L2H | Allied Elec | 821-0412 | 2.4 | 2 | 2 | 4.8 | 0
Pre-slit | Iodine carriage drive nut | Pic Design |  | Pic Design | ANR11-3708 | 15.01 | 1 | 1 | 15.01 | 0
Pre-slit | Iodine carriage coupling |  |  | McMaster-Carr | 2463K2 | 32.72 | 0 | 1 | 32.72 | 32.72
Pre-slit | Thermocouple |  |  | Omega | KMTXL-040U-6 | 33 | 1 | 1 | 33 | 0 | for Iodine cell
Pre-slit | Resistive heat wrap |  |  |  |  | 120 | 0 | 1 | 120 | 120 | for Iodine cell
Pre-slit | Pellicle Beamsplitter 3" Dia 8R/92T |  |  | Edmund Optics | 39-486 | 165 | 1 | 1 | 165 | 0
Pre-slit | On-slit guider system shutter |  |  | Melles Griot | 04 UTS 210 | 355 | 2 | 1 | 355 | 0
Pre-slit | Fold mirror, 25.4mm diam, 6mm thk |  |  | JML Optical | MPR14515/300 | 63.75 | 1 | 1 | 63.75 | 0 | Enables calibration lamp system
Pre-slit | BG-38 filter 1mm AR-coated | [5 empty] | 2 | 1 | 0 | 0 | At instrument entrance aperture
Pre-slit | BG-38 filter 2mm | [6 empty] | 1 | 0 |  | In front of each calibration lamp
Slit | Slit motor | Faulhaber | 1016M012G+10/1K, 256:1 | Micromo |  | 206.87 | 3 | 1 | 206.87 | 0
Slit | Slit linear transducer | Honeywell | MLT002N3000B5C | Allied Elec | 642-0151 | 274.25 | 1 | 1 | 274.25 | 0
Slit | Diffuser shutter | Daco Instrument Co | Custom | Daco Instrument Co | Custom | 125 | 3 | 1 | 125 | 0
Slit | Shutter | Daco Instrument Co | PFS06021 | Daco Instrument Co | Custom | 149 | 2 | 1 | 149 | 0
Slit | Slit drive nut |  |  | McMaster-Carr | 95075A229 | 26.7 | 1 | 1 | 26.7 | 0
Slit | Slit coupling |  | PFS06019 | OCIW shop |  | 200 | 0 | 1 | 200 | 200 | Redesign
Slit | Slit mask |  | PFS06001 | Photo Sciences |  | 2400 | 4 | 2 | 4800 | 0 | Also have 4 spares of old slit mask
Slit | Elliptical Mirror 0.875" Minor Axis |  |  | Edmund Optics | 32-131 | 62 | 0 | 2 | 124 | 124 | After slit, redirect beam toward grating
Thermal | Table mount thermistors |  |  | Omega | ON-930-44031 | 55 | 1 | 1 | 55 | 0 | 4 in instrument
Thermal | Air thermistor |  |  | Omega | ON-905-44031 | 66 | 2 | 2 | 132 | 0 | 2 in instrument
Thermal | Submerisble thermistor |  |  | Omega | ON-910-44031 | 66 | 2 | 2 | 132 | 0 | 2 in instrument
Thermal | Quick release coupling |  |  | McMaster-Carr | 6718K71 | 25.31 | 3 | 3 | 75.93 | 0 | 12 in Instrument
Thermal | Ball valve |  |  | McMaster-Carr | 47865K21 | 7.62 | 3 | 3 | 22.86 | 0 | 12 in Instrument
Thermal | Heat Tape 3x5", 5 Watts/in^2 |  |  | McMaster-Carr | 35765K375 | 26.7 | 4 | 4 | 106.8 | 0 | Heat glycol, 4 in instrument
Thermal | Water Pump, sealless brnz 1/25 hp, 12VDC |  |  | McMaster-Carr | 4161K22 | 261.42 | 2 | 2 | 522.84 | 0
Thermal | FTB4605 water meter |  |  | Omega | FTB4605 | 180 | 1 | 1 | 180 | 0
[5 empty] | Totals |  |  |  | 22794.941 | 916.72

## Additional
Additional PFS spares
Spares of some other parts are listed. In most cases, keeping spares in inventory for these parts is probably not necessary.
Assembly | Description | Manufacturer | Mfr part number | Vendor | Vendor part number | Price/each | Have | Req | Price/req | Price/need | Notes
CCD | O-ring for KF-16 centering ring | Kurt J. Lesker | O-B314 | Kurt J. Lesker |  | 2 | 5 | 5 | 10 | 0
CCD | Parker O-ring 2-262 | Parker | 2-262 | Valley Seal |  | 5 | 0 | 1 | 5 | 5
CCD | Parker O-ring 2-258 | Parker | 2-258 | Valley Seal |  | 5 | 0 | 1 | 5 | 5
CCD | Parker O-ring 2-156 | Parker | 2-156 | Valley Seal |  | 5 | 0 | 1 | 5 | 5
CCD | Parker O-ring 2-154 | Parker | 2-154 | Valley Seal |  | 5 | 0 | 1 | 5 | 5
CCD | Parker O-ring 2-128 | Parker | 2-128 | Valley Seal |  | 5 | 0 | 1 | 5 | 5
CCD | Dewar vacuum bellows | MS Bellows | PFS00018 | MS Bellows |  | 1400 | 1 | 1 | 1400 | 0
CCD | Compression spring for CCD | Gardner Spring | 36079GS | McMaster-Carr | 9435K93 | 6.5 | 1 | 1 | 6.5 | 0
Slit | Rubber cord for quarter lens | [6 empty] | 1 | 0 | 0
Slit | Slit extension spring | [5 empty] | 1 | 1 | 0 | 0
Structure | Spring pins M4x10 | [5 empty] | 6 | 1 | 0 | 0 | For spherolinder assembly
Grating | O-ring for KF-25 centering ring | Kurt J. Lesker | O-B320 | Kurt J. Lesker |  |  | 0 | 1 | 0 | 0
Grating | Parker O-ring 2-270 | Parker | 2-270 | Valley Seal |  |  | 2 | 1 | 0 | 0
Grating | Parker O-ring 2-386 | Parker | 2-386 | Valley Seal |  |  |  | 1 | 0 | 0
Optics | Axial springs for PFS1, PFS5 | Gardner Spring | 36039GS | McMaster-Carr | 9435K5 |  | 4 | 1 | 0 | 0
Optics | Radial springs for PFS1, PFS5 | Gardner Spring | 36067G | McMaster-Carr | 9434K79 |  | 3 | 1 | 0 | 0
Optics | Axial springs for lens PFSG | Gardner Spring | 36067GS | McMaster-Carr | 9435K81 |  | 2 | 1 | 0 | 0
Optics | Axial spring for grating | Gardner Spring | 36070G | McMaster-Carr | 9434K82 |  | 1 | 1 | 0 | 0
Pre-slit | Iodine carriage extension spring | [5 empty] | 1 | 1 | 0 | 0 | Both original and replacement
Pre-slit | Other filters and optics? | [6 empty] | 1 | 0 | 0
| O-nng 2-128 | Parker |  |  |  |  | 9 | 1 | 0 | 0
| O-ring 2-154 | Parker |  |  |  |  | 9 | 1 | 0 | 0
| O-ring 2-156 | Parker |  |  |  |  | 1 | 1 | 0 | 0
| O-ring 2-240 | Parker |  |  |  |  | 1 | 1 | 0 | 0